## 08012019
New Items Added
Trade Price Book
Effective August 15, 2021
Part # | Description | Trade Price | Bar Code
INSTINCT (Floor) - Coming October 2021
INSFS110S | Solo 110 | 3715
INSFS155S | Solo 155 | 3910
INSFS199S | Solo 199 | 4260
INSFS155C | Combi 155 | 4250
INSFS199C | Combi 199 | 4405
INSTINCT (Wall)
INS110S | Solo 110 | 2299
INS155S | Solo 155 | 2464
INS199S | Solo 199 | 2628
INS155C | Combi 155 | 2511
INS199C | Combi 199 | 2711
INSTINCT Optional Equipment
INSRKIT84 | Kit:Manifold INSTINCT COMBI P/N 0789287 | 315
INSRKIT101 | Kit:Complete Service Kit | 2205
INSRKIT102 | Kit: First Aid Service Kit | 1654
INSRKIT103 | Kit: Service Kit | 420
PRESTIGE Condensing Gas Boiler featuring the CTRLMAX Control
PA80 | Solo 80 w/ CTRLMAX Control | 3569
PA110 | Solo 1100 w/ CTRLMAX Control | 3853
PA155 | Solo 155 w/ CTRLMAX Control | 4775
PA175 | Solo 175 w/ CTRLMAX Control | 5182
PA250 | Solo 250 w/ CTRLMAX Control | 6136
PA299 | Solo 299 w/ CTRLMAX Control | 7491
PA399 | Solo 399 w/ CTRLMAX Control | 9490
PEA110 | Excellence 110 w/ CTRLMAX Control | 4692
Optional Equipment
MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 88
PSNEU01 | Condensate Neutralizer Kit (16 per carton) | 95
PSNEU02 | Neutralizer Refill Kit | 17
PSRKIT22 | Indirect Water Heater Sensor IDWH Kit | 58
PSSTND02 | Wall Kit Prestige 399 (recommended for anything other than a block or brick wall) | 444
PSSTND03 | Floor Leg Stand Assembly 399 (ordered in addition to wall kit) | 646
PSTREA01 | Fernox Boiler Commissioning Kit | 134
PSVKIT01 | 3" Stainless Steel Sidewall Termination | 180
PSVKIT02 | 4" Stainless Steel Sidewall Termination | 208
PSVTERM03 | 2" PVC Sidewall Vent Termination Kit (Solo 60 & 110 only) | 58
PSVTERM04 | 3" PVC Sidewall Termination Kit | 58
PSVTERM05 | 4" PVC Sidewall Termination Kit | 58
PACAB01 | Cascade Connection (Multiple Boiler) cable | 29
PTSENS12 | System Temperature Sensor for Cascade (strap on) | 59
PTCON22 | ProtoNode BMS, BACnet®, Modbus | 973
PTCON23 | ProtoNode BMS LonWorks® | 1028
PARKIT105 | Kit: Repair Case PA80/110/EXC | 1449
PARKIT106 | Kit: Repair Case PA155/175/250 | 1796
PARKIT107 | Kit: Repair Case PA299/399 | 1773
PARKIT108 | Kit: Manifold PRESTIGE PA80/110 | 341
PARKIT109 | Kit:Manifold PRESTIGE PA155-250 | 374
SMART Indirect Fired Water Heaters
P3SMART30 | Indirect Fired Water Heater | 1132
P3SMART40 | Indirect Fired Water Heater | 1261
P3SMART50 | Indirect Fired Water Heater | 1478
P3SMART60 | Indirect Fired Water Heater | 1684
P3SMART80 | Indirect Fired Water Heater | 2292
P3SMART100 | Indirect Fired Water Heater | 2653
P3SMART120 | Indirect Fired Water Heater | 3372
Optional Equipment
P3KITDT09 | 1 1/2" Recirculating Dip Tube TR-120/SMART100/TR-100 | 76
P3WKITDT04 | 3/4" Recirculating Dip Tube GOLD80,SM60,HL60 | 45
PRESTIGE with TRIMAX Control
PT399HP | Solo 399 LP w/ Trimax Control - 80psi | 9583
Optional Equipment
PTRKIT133 | PT Excellence TimeSaver Primary/Secondary Manifold without Pump | 298
PTRKIT200 | Repair Parts Kit 60-250 MBH | 1839
PTRKIT201 | Repair Parts Kit PT399 MBH | 2874
PTRLV03 | 80 psi ASME Relief Valve (HP model Only) | 36
PRESTIGE Solo 399 Concentric Vent Kits
PSVSUP03 | Support Bracket #810009506 | 49
PSVCLP02 | Vent Clamp ** # 41.008.42.80 | 25
PSVELB01 | Vent Elbow 4" 90** # 41.008.42 | 76
PSVELB02 | Vent Elbow 4" 45** # 41.008.42 | 82
PSVGSK01 | Vent Seal VITON** #41.008.50. | 20
PSVKIT03 | 4" Concentric Vent Kit Complete Wall Terminal 399 (26" Total Horizontal Length) | 427
PSVPIP01 | 12" - 17" Adjustable Concentric Straight Length | 111
PSVPIP02 | 40" Concentric Straight Length | 100
PSVSUP01 | Firestop Support Plate | 54
CHALLENGER Combi & Solo High Efficiency Boilers
CC105 | Challenger Combi | 2197
CC85S | Challenger Solo | 2352
CC105S | Challenger Solo | 2484
CC125HS | Challenger Solo | 2617
CC150S | Challenger Solo | 3004
Optional Equipment
CCPIPKIT01 | Prim/Secondary Piping #48754-0 | 368
CCRKIT97 | Kit:Challenger Repair Parts | 1818
CCRKIT202 | Timesaver Pri Sec Man, w Grunfos UPS15-58 FC Pump, 1.25" Brazed Sys Connections | 386
CCSTRA01 | DHW Strainer (Lead Free) | 75
CCVKIT01 | Horizontal Concentric Vent Kit w/ Term, Elbow, Clamp, Screws & Boiler Adaptor | 223
PSNEU01 | Condensate Neutralizer Kit (16 per carton) | 95
PSNEU02 | Neutralizer Refill Kit | 17
CASCADE PRESTIGE
Primary Secondary-Less Boilers
CPS500 | CASCADE: 2 - 250 Prestige Boiler -Less Boilers | 5025
CPS800 | CASCADE: 2 -399 Prestige Boiler -Less Boilers | 7260
CPS1000 | CASCADE: 4 - 250 Prestige Boiler -Less Boilers | 9650
CPS1200 | CASCADE: 3 -399 Prestige Boiler -Less Boilers | 8500
CPS1600 | CASCADE: 4 -399 Prestige Boiler -Less Boilers | 10550
CPS2000 | CASCADE: 5 -399 Prestige Boiler -Less Boilers | 12285
Primary Secondary-With Boilers
CPS500 | CASCADE: 2 - 250 Prestige Boiler -With Boilers | 16705
CPS800 | CASCADE: 2 -399 Prestige Boiler -With Boilers | 25860
CPS1000 | CASCADE: 4 - 250 Prestige Boiler -With Boilers | 33010
CPS1200 | CASCADE: 3 -399 Prestige Boiler -With Boilers | 36410
CPS1600 | CASCADE: 4 -399 Prestige Boiler -With Boilers | 47760
CPS2000 | CASCADE: 5 -399 Prestige Boiler -With Boilers | 58800
Optional Equipment
PSCAS17 | SCD-1 Kit CASCADE: CSD-1 For P/S & R/R W | 393
PSVKIT02 | 4" Stainless Steel Sideway Termination Kit | 208
PSNEU03 | Condensate Neutralizer Kit | 143
KEYSTONE Condensing Boiler & Water Heater
KW199T | Keystone Water Heater (Special Order) | 8594
KW285T | Keystone Water Heater (Special Order) | 10819
KW399T | Keystone Water Heater (Special Order) | 13569
KW500T | Keystone Water Heater (Special Order) | 16042
KW600T | Keystone Water Heater (Special Order) | 17773
KW750T | Keystone Water Heater (Special Order) | 20553
KW850T | Keystone Water Heater (Special Order) | 22966
KW1000 | Keystone Water Heater (Special Order) | 41157
KW1200 | Keystone Water Heater (Special Order) | 50071
KS399T | Keystone Condensing Boiler | 11016
KS500T | Keystone Condensing Boiler | 15505
KS600T | Keystone Condensing Boiler | 17216
KS750T | Keystone Condensing Boiler | 19999
KS850T | Keystone Condensing Boiler | 22390
KS1000T | Keystone Condensing Boiler (50% Deposit required before order will be placed) | 40062
KS1200T | Keystone Condensing Boiler (50% Deposit required before order will be placed) | 48975
Optional Equipment
KSR601 | Water Flow Switch for Field Mount (KW199 only) | 245
KSR602 | Water Flow Switch for Field Mount (KW285 only) (special order) | 245
KSR603 | LWCO for Field Mount (KW199 only) | 524
KSR604 | LWCO for Field Mount (KW285 to KW850 only) (special order) | 524
KSR605 | High/Low GPS for Field Mount (KW199 to KW285 only) (special order) | 524
KSR606 | High/Low GPS for Field Mount (KS399 & KW399 to KW600 only) (special order) | 524
KSR607 | High/Low GPS for Field Mount (KW750 to KW850 only) (special order) | 508
KSR608 | 0-10 VDC Signal Converter (special order) | 31
KSR614 | LWCO for Field Mount (KS99 only) | 524
PSTREA01 | Fernox Boiler Commissioning Kit #59480 | 134
PSVKIT01 | 3" Stainless Steel Sidewall Termination | 180
PSVKIT02 | 4" Stainless Steel Sidewall Termination | 208
PSVTERM04 | 3" PVC Sidewall Termination Kit #196985 IPEX | 58
PSVTERM05 | 4" PVC Sidewall Termination Kit #196986 IPEX | 58
PTCON22 | ProtoNode BMS, BACnet®, Modbus | 973
PTCON23 | ProtoNode BMS LonWorks® | 1029
MAXI-FLO Stainless Steel Pool & Spa Heater
FHEMF0080 | Maxi-Flo Heat Exchanger | 440
FHEMF0135 | Maxi-Flo Heat Exchanger | 689
FHEMF0200 | Maxi-Flo Heat Exchanger | 874
FHEMF0260 | Maxi-Flo Heat Exchanger | 1054
FHEMF0400 | Maxi-Flo Heat Exchanger | 1490
FHEMF0135T | Maxi-Flo Heat Exchanger - Titanium | 1247
FHEMF0260T | Maxi-Flo Heat Exchanger - Titanium | 1625
FHEMF350PT | Maxi-Flo Heat Exchanger - Titanium | 1941
Optional Equipment
MFSSKIT01 | 1 1/2" stainless steel supply & return | 92
MFSSKIT03 | 2" stainless steel supply & return | 114
Brazed Plate Heat Exchanger
FHETTP1-14E | Brazed Plate Heat Exchanger | 211
FHETTP1-20E | Brazed Plate Heat Exchanger | 264
FHETTP1-30E | Brazed Plate Heat Exchanger | 337
FHETTP3-14 | Brazed Plate Heat Exchanger | 511
FHETTP3-20 | Brazed Plate Heat Exchanger | 604
FHETTP3-40 | Brazed Plate Heat Exchanger | 897
FHETTP4-10 | Brazed Plate Heat Exchanger | 610
FHETTP4-14 | Brazed Plate Heat Exchanger | 715
FHETTP4-24 | Brazed Plate Heat Exchanger | 924
FHETTP4-30 | Brazed Plate Heat Exchanger | 1032
FHETTP4-50 | Brazed Plate Heat Exchanger | 1445
FHETTP4-70 | Brazed Plate Heat Exchanger | 1831
FHETTP5-14DW | Brazed Plate Heat Exchanger | 891
FHETTP5-20DW | Brazed Plate Heat Exchanger | 1090
FHETTP5-30DW | Brazed Plate Heat Exchanger | 1565
FHETTP5-50DW | Brazed Plate Heat Exchanger | 2094
FHETTP5-80DW | Brazed Plate Heat Exchanger | 3106
FHETTP5-100DW | Brazed Plate Heat Exchanger | 3775
FHETTP7L-20 | Brazed Plate Heat Exchanger | 2374
FHETTP7L-24 | Brazed Plate Heat Exchanger | 2617
FHETTP7L-30 | Brazed Plate Heat Exchanger | 2983
FHETTP7L-40 | Brazed Plate Heat Exchanger | 3655
FHETTP7L-50 | Brazed Plate Heat Exchanger | 4329
FHETTP7L-60 | Brazed Plate Heat Exchanger | 5015
TR & HL Parts List
P3DW01 | Kit: Drywell, SM40, HL36 | 89
P3DW02 | Kit: Drywell, SM50,TR30,TR45,HL45 | 89
P3DW03 | Kit: Drywell, SM60,SM80,TR60,HL60 | 104
P3DW04 | Kit: Drywell,TR36,TR80,SM100,TR100,TR120 | 104
P3DW05 | Kit: Drywell, SM30, HL-20, HL-30 | 88
P3KITAV01 | Air Vent (Automatic) | 29
P3KITDT05 | Kit: Dip Tube TR-45/60 | 51
P3KITDT08 | Kit: Dip Tube TR-80 / Smart80 | 67
P3KITTH01 | AQUASTAT | 53
P3KITTHR01 | Thermometer | 43
P3KITWRS01 | Wire Harness & Snap Set | 41
P3KNB02 | Knob | 18
P3WKITDT01 | Kit: Dip Tube Gold 30, SM30,HL30 | 39
P3WKITDT02 | Kit: Dip Tube Gold 40,SM40,HL36 | 39
P3WKITDT03 | Kit: Dip Tube Gold 60,SM50 | 39
SMART & COMFORT Parts List
P3KITBTM03 | Kit: SM80/100-Gold Plus 100 BO | 84
P3KITBTM02 | Kit: Smart Bottom | 61
P3KITBTM05 | Kit: Comfort Bottom | 65
P3CTNH120 | Carton SMART 120 | 117
P3CTNH80 | Carton SMART 80 | 112
P3CVR04 | Cover Plate | 18
P3DW01 | DRYWELL SMART 40 | 89
P3DW02 | DRYWELL Smart 50,TR30,TR45,HL45 | 89
P3DW03 | DRYWELL Smart 60, Smart 80,TR60,HL60 | 104
P3DW04 | DRYWELL Smart100,Smart120,TR36,TR80,TR100,TR120 | 104
P3DW05 | DRYWELL Smart20,Smart30,HL20,HL30 | 88
P3DW06 | DRYWELL Comfort Tank | 44
P3KITAV01 | Air Vent (Automatic) | 29
P3KITAV02 | Kit: Air Vent (Manual) | 17
P3KITBTM04 | Kit: SM120, GP119 Bottom Cap P/N 634200168 | 112
P3KITDT02 | Kit: Dip Tube SMART20 | 39
P3KITDT08 | Kit: Dip Tube TR-80 / SMART80 | 67
P3KITTH01 | Kit: Thermostat (Residential) | 53
P3KITTH03 | Kit: Thermostat (Commercial) | 54
P3KITTH04 | Kit: Thermostat (Comfort) | 44
P3KITTOP02 | Kit: Top SMART 20/30/40/50/60 | 87
P3KITTOP03 | Kit: Top SMART 80/100 | 105
P3KITTOP04 | Kit: Top SMART 120 | 151
P3KITTOP05 | Kit: Top Comfort | 65
P3KITTOP06 | Kit: New Top SMART 30/40/50/60 | 118
P3KITWRS01 | Wire Harness & Snap Set | 41
P3KNB02 | Knob: Smart Line | 18
P3WKITDT01 | Dip Tube SMART 30 | 39
P3WKITDT02 | Dip Tube SMART 40 | 39
P3WKITDT03 | Dip Tube SMART 50 | 39
HM Series Parts List
HMDRA01 | Drain Valve | 16
HMDT02 | Dip Tube HM 40/45 | 29
HMDT03 | Dip Tube HM 100 | 29
HMEXP01 | Expansion Tank | 92
HMGAU01 | Temperature & Pressure Gauge | 40
HMRLV01 | Pressure Relief Valve 30 psi | 36
HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 16
HMTPV01 | T & P Relief Valve 150 psi | 115
P3KITAV01 | Air Vent (Automatic) | 29
PGRKIT20 | Low Water Cut Off Device | 71
PGRKIT22 | Manual Safety Aquastat Kit | 146
PGRKIT23 | Automatic Reset Kit | 84
PSWEL02 | Bulb Well: 1/2" NPT x 6" | 46
Performance, Plus, Elite & Classic Series Parts List
HMCS01 | Control Panel | 83
HMDRA01 | Drain Valve | 16
HMDT01 | Dip Tube | 21
HMDT02 | Dip Tube HM 40/45 | 29
HMGAU01 | Temperature & Pressure Gauge | 40
HMRLV01 | Pressure Relief Vavle 30 psi | 36
HMSHU01 | Shutter: Air Intake | 23
HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 16
P3DW05 | Drywell (PG and F Models) Smart30,HL20,HL30 | 88
P3KITAV01 | Air Vent (Automatic) | 29
PGRKIT18 | Transformer Kit | 67
PGRKIT19 | Relay Kit (order 2 per unit) | 67
PGRKIT20 | Low Water Cut Off Kit | 71
PGRKIT21 | Thermostat Kit (order 2 per unit) | 70
PGRKIT22 | Manual Reset Kit | 146
PGRKIT23 | Auto Reset Kit | 84
PSCIR02 | Grundfos UP 15-58 Circulator | 146
PSWEL02 | Bulb Well: 1/2" NPT x 6" | 46
Burner Repair Kits List
HMCAB02 | Ignition Wire | 38
PGRKIT01 | Gas valve replacement kit | 191
PGRKIT02 | PG-25 Blower / motor replacement kit | 461
PGRKIT03 | PG-30 Blower / motor replacement kit | 529
PGRKIT04 | PG-35 Blower / motor replacement kit | 529
PGRKIT05 | PG-40 Blower / motor replacement kit | 461
PGRKIT06 | PG-45 Blower / motor replacement kit | 461
PGRKIT07 | Natural gas to Propane conversion kit | 132
PGRKIT08 | Propane to Natural gas conversion kit | 132
PGRKIT09 | Burner head replacement kit | 228
PGRKIT10 | Burner head replacement kit | 228
PGRKIT11 | Pressure switch replacement kit with 1.84" w.c. pressure switch | 57
PGRKIT12 | Pressure switch replacement kit with 2.7" w.c. pressue switch | 57
PGRKIT13 | Pressure switch replacement kit with 3.35" w.c. pressure switch | 57
PGRKIT14 | Ignitor replacement kit | 116
PGRKIT15 | Rectifier cable replacement kit | 70
PGRKIT16 | UT Ignition control module replacement kit | 191
PGRKIT17 | Ignitor replacement kit | 116
PGRKIT24 | Honeywell to UT Control module R | 303
Modulating Series Parts List
HMGSK01 | Gasket: Venturi Cork | 14
HMGSK12 | Gasket: Gas Valve | 14
HMGSK14 | Blower Gasket | 14
HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 16
MDRKIT01 | Domestic NTC Sensor | 69
MDRKIT02 | Air Switch | 76
MDRKIT03 | MCBA Control Module | 752
MDRKIT04 | Control Module Display | 132
MDRKIT05 | System Temperature Sensor for Cascade (immersion) | 88
MDRKIT06 | Control Module Display Cover | 47
MDRKIT08 | Igniter with Gasket | 74
MDRKIT09 | Burner Plate Insulation & Gasket | 154
PGRKIT01 | Gas Valve | 191
PGRKIT15 | Gas Valve Rectifier Plug | 70
PGRKIT20 | Kit: Low Water Cut Off | 71
PGRKIT37 | Burner Head | 228
PSCIR02 | Gundfos UP 15-58 Circulator | 146
PSRIB02 | Ribbon: MCBA Control Display | 37
PSRKIT14 | Kit: Ignition Cable 110-250 | 56
PSRKIT19 | Transformer with Surge Protection | 92
PSWIR01 | Wire Mesh Disc 3 1/2" | 15
PRESTIGE Solo 60/110/175/250 Series Parts List
HMGSK01 | Gasket: Venturi Cork | 14
HMGSK16 | Gasket Heat Exchanger 175/250 | 70
HMNIP24 | Nipple, Brass 3/4" | 12
HMRLV01 | Pressure Relief Valve 30 psi | 36
PGRKIT01 | Gas Valve Kit | 191
PGRKIT15 | Gas Valve Rectifier Plug | 70
PGRKIT20 | LWCO Device | 71
PSCIR02 | Grundfos UP15-58 Circulator | 146
PSCONN04 | Connector: 9 PIN Male | 27
PSCONN05 | Connector: 13 PIN Male | 35
PSCONN06 | Connector: 9 PIN Female | 30
PSCONN07 | Connector: 13 PIN Female | 44
PSCS01 | Control Panel | 76
PSELB01 | Elbow: PVC to Venturi (Solo 110-250) | 42
PSELB02 | Elbow: Brass 90 3/4 | 19
PSFUSE01 | Fuse 4 AMP (the same for all Solos) | 11
PSFUSE02 | Fuse 5 AMP (the same for all Solos) | 11
PSGSK03 | Gasket: Ignitor | 14
PSGSK04 | Gasket: NTC Sensor | 12
PSGSK09 | Supply Gasket or return Gasket (Solo 175) | 14
PSGSK12 | Gasket: Sup/Ret Piping | 14
PSJKT01B | Base Panel (60/110) | 226
PSJKT01F | Jacket Front | 106
PSJKT01R | Rear Front Jacket Panel | 106
PSJKT01T | Top Front Jacket Panel - (60/110) | 106
PSJKT02S | Jacket, Side Panel (Right or Left) | 115
PSJKT02T | Top Jacket Access Panel - (60/110) | 62
PSJKT03B | Base Panel (175/250) | 62
PSJKT03T | Top Front Jacket Panel (175/250) | 62
PSJKT04T | Top Jacket Access Panel (175/250) | 58
PSRKIT02 | Vent Outlet Adapter (60/110) | 214
PSRKIT03 | Combustion Air Inlet Adapter 110-250 | 118
PSRKIT05 | Condensation Drain Assembly 110-250 | 71
PSRKIT06 | Boiler Piping - Return Assembly (60/110) | 173
PSRKIT07 | Boiler Piping - Supply Short Assembly (110 only) | 173
PSRKIT08 | Boiler Piping - Supply Long Assembly (110 only) | 251
PSRKIT10 | Burner Head with Gasket (Natural Gas) (Solo 60/110) | 233
PSRKIT11 | Burner Head with Gasket (Propane) (Solo 60/110) | 224
PSRKIT13 | Blower Kit with Gasket (SOLO 175/250) | 323
PSRKIT14 | Kit: Ignition Cable 110-250 | 56
PSRKIT15 | Kit: Igniter w/Gasket 110-250 | 62
PSRKIT16 | Kit: Sight Glass Assembly 110-250 | 79
PSRKIT17 | Pressure Gauge | 62
PSRKIT19 | Transformer with Surge Protection | 92
PSRKIT20 | Prestige Control Module Display (with Ribbon Cable) | 133
PSRKIT21 | Wall Bracket 110-399 Excellence | 53
PSRKIT23 | AM4 Multiple Boiler Interface Kit | 203
PSRKIT24 | LP to Natural Gas Conversion Kit 60-250 also 110 LP to natural | 27
PSRKIT27 | Vent Outlet Adapter (175/250) | 329
PSRKIT28 | Boiler Piping - Return Assembly (175/250) ACV#507F4121 | 119
PSRKIT29 | Boiler Piping - Supply Assembly (175/250) ACV#507F4120 | 146
PSRKIT33 | Natural Gas to LP Conversion Kit (60/175/250) | 34
PSRKIT36 | Kit: Time Delay Relay Box EO-4 (PSREL01) | 145
PSRKIT50 | MCBA Control Module | 481
PSRKIT52 | Boiler Piping -Supply Assembly (60 only) | 209
PSRKIT80 | Venturi (Solo 60) | 105
PSRKIT90 | Kit: 60/110 Service Kit | 323
PSRKIT91 | Kit: 175/250 Service Kit | 358
PSRKIT92 | Kit:399 Service Kit | 428
PSRKIT99 | Kit: Heat Exchange PS/EXC110 O/S Natural and LP | 1752
PSSCR03 | Thumbscrew | 8
PSSENS01 | Outdoor Sensor Kit #084N1021 or HW #SO10076/B (120/ctn) | 63
PSSWI01 | Power Switch | 19
PSWIR01 | Wire Mesh Disc 3 1/2" | 15
PSWIR02 | Wiring Tool | 12
PSWIR05 | Wire Harness (Solo 110-250) | 379
PSCONN10 | Blower Harness Low Voltage | 74
PSCONN11 | Blower Harness High Voltage | 74
PRESTIGE Solo 399 Series Parts List
PGRKIT20 | LWCO Device | 71
PSCS01 | Display/Control Panel | 76
PSGSK20 | Gasket: Burner Head 399 | 29
PSGSK25 | Gasket: Boiler Pipe/HX | 114
PSJKT02F | Front Jacket Panel | 122
PSJKT03R | Rear Front Jacket Panel | 132
PSJKT03S | Side Jacket Panel (Left & Right) | 132
PSJKT04 | Rear Control Cover Panel | 69
PSJKT05T | Top Front Jacket Panel | 118
PSJKT06T | Top Jacket Panel - Access | 118
PSRKIT05 | Condensation Drain Assembly 110-250 | 71
PSRKIT17 | Pressure Gauge | 62
PSRKIT19 | Transformer with Surge Protection | 92
PSRKIT20 | Prestige Control Module Display (with Ribbon Cable) | 133
PSRKIT21 | Wall Mounting Bracket with Hardware 110-399 EXC | 53
PSRKIT46 | Combustion Air Inlet Adapter 399 | 190
PSRKIT47 | Kit: NTC Sensor 399 | 80
PSRKIT48 | Boiler Piping - Return Assembly 399/299 | 210
PSRKIT49 | Boiler Piping - Supply Assembly 399/299 | 294
PSRKIT50 | MCBA Control Module | 481
PSRKIT87 | OBSO Kit: 399 Chamber Service (Replace with PSRKIT92) | N/A
PSWIR03 | 4" Screen | 16
PSWIR07 | Wire Harness | 401
PTRKIT109 | Pressure Gage (80-250) | 66
PTRKIT111 | Gas Valve (PA155-250) (PT60-250) | 171
PTRKIT117 | Vent Outlet Adapter 399 ACV# 10800271 MG# 41.012.06.03 | 345
PRESTIGE Solo 399 Series Burner Components Parts List
PSRKIT14 | Kit: Ignition Cable 110-250 | 56
PSRKIT15 | Kit: Igniter w/Gasket 110-250 | 62
PSRKIT16 | Kit: Sight Glass Assembly(Glass Gasket and Bracket) 110-250 | 79
PSRKIT38 | Burner Head with Gasket 399 | 585
PSRKIT39 | Burner Plate 399 (Replace with PTRKIT141) | 345
PSRKIT40 | Blower with Gasket 399 | 930
PSRKIT41 | Gas Valve 399 | 389
PSRKIT42 | Gas Valve Piping 399 | 190
PSRKIT43 | Gas Supply Piping 399 | 184
PSRKIT51 | Natural Gas to LP Gas Conversion Kit 399 | 48
PSRKIT53 | LP to Natrural Gas Conversion Kit 399 | 62
PRESTIGE Excellence Parts List
HMGSK01 | Gasket: Venturi Cork | 14
HMTEE09 | Tee, 3/4" x 1/2" x 3/4" | 16
PEJKT01B | Base Panel | 180
PEJKT01T | Top Jacket Panel | 117
PEJKT02T | Top Jacket Panel - Blower Access | 53
PEJKT03T | Top Jacket Panel - IDWH Access | 53
PGRKIT20 | LWCO Pressure Device | 71
PSCIR02 | Grundfos UP15-58 Circulator | 146
PSCS01 | Display/Control Panel | 76
PSJKT02F | Front Jacket Panel | 122
PSJKT03S | Side Jacket Panel (Left & Right) | 132
PSJKT04 | Rear Control Cover Panel | 69
PSRKIT03 | Combustion Air Inlet Adapter 110-250 | 118
PSRKIT05 | Condensate Drain Assembly (Not Shown) 110-250 | 71
PSRKIT17 | Pressure Gauge and Fitting | 62
PSRKIT19 | Transformer with Surge Protection | 92
PSRKIT20 | Prestige Control Module Display (with Ribbon Cable) | 133
PSRKIT21 | Wall Mounting Bracket w/ Hardware 110-399 EXC | 53
PSRKIT54 | Boiler Piping - Supply Short Assembly EXC | 90
PSRKIT56 | Excellence Water Heater Tank | 1181
PSRKIT57 | Valve Actuator 3 Way Valve EXC | 113
PSRKIT58 | MCBA Prestige Control Module EXC | 531
PSRKIT59 | Boiler Piping - Return Assembly EXC | 144
PSRKIT60 | Boiler Piping - Supply Outlet Assembly EXC | 98
PSRKIT61 | Boiler Piping - Supply Long Assembly EXC | 117
PSRKIT62 | Boiler Piping - Relief Valve Assembly EXC | 137
PSRKIT73 | Vent Outlet Adapter PE110 | 214
PSWIR01 | Wire Mesh Disc 3 1/2" | 15
PRESTIGE Excellence Burner Components
PGRKIT01 | Gas Valve | 191
PGRKIT15 | Gas Valve Rectifier Plug - Not Shown | 70
PSRKIT10 | Burner Head with Gasket - Natural 110 | 233
PSRKIT11 | Burner Head with Gasket - Propane 110 | 224
PSRKIT12 | Burner Plate Gasket | 207
PSRKIT14 | Kit: Ignition Cable 110-250 | 56
PSRKIT15 | Kit: Igniter w/Gasket 110-250 | 62
PSRKIT16 | Sight Glass Assembly (Glass, Gasket & Bracket) 110-250 | 79
PTRKIT114 | Kit: Blower w/Gasket 60/110/EXC | 278
PRESTIGE Excellence IWH Components
P3DW05 | Drywell SM30, HL-20, HL-30 | 88
P3WKITDT01 | Dip Tube | 39
PSRKIT63 | NTC3 DHW Sensor Excellence | 54
PRESTIGE TRIMAX PT 60/110/175/250/399 & Excellence PTE110 Parts List
HMGSK01 | Gasket: Venturi Cork | 14
HMGSK12 | Gasket: Gas Valve | 14
HMNIP24 | Nipple, Brass 3/4" | 12
P3DW05 | Drywell, Excellence SM30, HL-20, HL-30 | 88
P3WKITDT01 | Dip Tube | 39
PARKIT92 | Kit: Heat Exchanger PS/PT/PA175 | 1883
PARKIT93 | Kit: Heat Exchanger PS/PT/PA250 | 2240
PARKIT95 | KIT:HEAT EXCHANGER PS/PT/PA399 | 3531
PEJKT02T | Top Jacket Panel - Blower Access | 53
PEJKT03T | Top Jacket Panel - IDWH Access | 53
PEVLV01 | Valve Body | 129
PEVLV02 | Three Way Valve Cartridge VCZZ6000/U | 36
PGRKIT20 | LWCO Pressure Device | 71
PSCIR02 | Grundfos UP15-58 Circulator | 146
PSCONN10 | Blower Harness Low Voltage | 74
PSCONN11 | Blower Harness High Voltage | 74
PSELB03 | Elbow: PVC Venturi | 81
PSELB04 | Elbow: PVC 60 | 70
PSFLG01 | Flange: Gas Valve Inlet 399 | 52
PSFTG02 | Fitting: Compression Ring | 14
PSGSK11 | Gakset: Venturi Oring 399 | 25
PSGSK18 | Gasket: Gas Valve Venturi 399 | 16
PSGSK19 | Gasket: Air Inlet Elbow 399 | 13
PSGSK21 | Gasket: Gas Orifice 399 | 15
PSRKIT05 | Condensate Drain Assembly 110-250 | 71
PSRKIT06 | Boiler Piping - Return Assembly 110 | 173
PSRKIT07 | Boiler Piping - Supply Short Assembly 110 | 173
PSRKIT08 | Boiler Piping - Supply Long Assembly 110 | 251
PSRKIT10 | Burner Head w/ gasket - Natural 110 | 233
PSRKIT11 | Burner Head w/ gasket - Propane 110 | 224
PSRKIT13 | Blower with Gasket PT175/250 | 323
PSRKIT16 | Sight Glass Assembly (glass, gasket, bracket) 110-250 | 79
PSRKIT21 | Wall Mounting Bracket & Hardware 110-399 EXC | 53
PSRKIT28 | Boiler Piping - Return Assembly 175-250 ACV#507F4121 | 119
PSRKIT29 | Boiler Piping - Supply Assembly 175-250 ACV#507F4120 | 146
PSRKIT31 | Burner head with Gasket 175/250 | 360
PSRKIT36 | Kit: Time Delay Relay Box EO-4 (PSREL01) | 145
PSRKIT38 | Burner Head with Gasket 399 | 585
PSRKIT40 | Blower with Gasket 399 | 930
PSRKIT47 | Kit: NTC Sensor 399 | 80
PSRKIT48 | Boiler Piping - Return Assembly 399/299 | 210
PSRKIT49 | Boiler Piping - Supply Assembly 399/299 | 294
PSRKIT52 | Boiler Piping - Supply Assembly 60 | 209
PSRKIT54 | Boiler Piping - Supply Short Assembly EXC | 90
PSRKIT56 | Excellence Water Heater Tank | 1181
PSRKIT57 | Valve Actuator 3 Way EXC | 113
PSRKIT59 | Boiler Piping - Return Assembly EXC | 144
PSRKIT60 | Boiler Piping - Supply Outlet Assembly EXC | 98
PSRKIT61 | Boiler Piping - Supply Long Assembly EXC | 117
PSRKIT63 | NTC3 DHW Sensor Excellence | 54
PSRKIT64 | Kit: Prestige Component Parts | 151
PSRKIT65 | Kit: Gas Conversion Natural to LP | 249
PSRKIT67 | Vent/Combustion Air Adapter PT60-250 & Excellence Gasket | 34
PSRKIT68 | Vent/Combustion Air Adapter PT399 Gasket | 34
PSRKIT69 | Heat Exchanger/FlueTube: PT60, PT 110 & Excellence Gasket | 34
PSRKIT70 | Heat Exchanger/FlueTube: PT175 & PT 250 Gasket | 34
PSRKIT71 | Heat Exchanger/FlueTube: PT399 Gasket | 36
PSRKIT77 | Flue Sensor Mounting Plug for 399 | 26
PSRKIT80 | Venturi Valve (Solo 60) | 105
PSRKIT81 | Venturi Valve Exc (Solo 110) | 106
PSRKIT82 | Venturi Valve (Solo 175) | 106
PSRKIT83 | Venturi Valve (Solo 250) | 106
PSRKIT84 | Venturi 399 | 195
PSRKIT87 | OBSO Kit: 399 Chamber Service (Replace with PSRKIT92) | N/A
PSRKIT90 | Kit: 60/110 Service Kit | 323
PSRKIT91 | Kit: 175/250 Service Kit | 358
PSVLV13 | Mixing Valve | 84
PSWIR01 | Wire Mesh Disc 3 1/2" | 15
PTADPT07 | Vent / Air Adaptor (3 inch) | 57
PTADPT08 | Vent / Air Adaptor (4 inch) | 75
PTCON19 | Control Enclosure Cover | 57
PTFUSE01 | Fuse, 2.5A | 8
PTFUSE02 | Fuse, 5A | 8
PTFUSE03 | Fuse, 8B | 7
PTGRO01 | Ignitor Cable Grommet | 10
PTJKT08F | Front Jacket Panel | 114
PTJKT09F | Front Jacket Panel | 118
PTJKT10R | Rear Jacket Panel | 140
PTJKT11R | Rear Jacket Panel | 191
PTJKT12R | Rear Jacket Panel | 173
PTJKT13R | Rear Jacket Panel | 190
PTJKT14T | Top Jacket Panel | 57
PTJKT15T | Top Jacket Panel | 82
PTJKT16T | Top Jacket Panel | 82
PTJKT17T | Top Jacket Panel | 44
PTJKT18T | Top Jacket Access Panel | 56
PTJKT20T | Top Jacket Access Panel | 56
PTJKT22S | Side Jacket Panel (Left or Right) | 114
PTJKT23S | Side Jacket Panel (Left or Right) | 132
PTJKTSUP01 | Support - Jacket | 23
PTJKTSUP03 | Support - Boiler Return Piping | 36
PTRKIT109 | Pressure Gauge and Fitting 60-250 | 66
PTRKIT110 | Pressure Gauge and Fitting - 399 | 66
PTRKIT111 | Kit: Gas Valve (PT60-250/PA155-250) | 171
PTRKIT112 | Gas Valve 399 | 301
PTRKIT114 | Kit: Blower w/Gasket 60/110/EXC | 278
PTRKIT115 | Vent Pipe (polypropylene) 60-110 | 139
PTRKIT116 | Vent Pipe (polypropylene) 175-250 | 173
PTRKIT117 | Vent Pipe (polypropylene) 399 ACV# 10800271 | 345
PTRKIT118 | Vent Pipe (polypropylene) EXC | 161
PTRKIT119 | Kit: Condensate Trap 60/80/110/Excellence | 163
PTRKIT120 | Kit: Condensate Trap 175/250 | 179
PTRKIT121 | Kit: Condensate Trap 399 | 228
PTRKIT122 | Supply / Return Temperature Sensor 60-250 | 64
PTRKIT123 | Flye Temperature Sensor (60-399/PA80/PA110) | 77
PTRKIT126 | PT 60/110 TimeSaver Primary/Secondary Manifold without Pump | 274
PTRKIT134 | Kit: Heat Exchanger PT/EXC110 | 1330
PTRKIT135 | Kit:Heat Exchanger 399HP High Pressure | 3975
PTRKIT136 | Kit: Combustion Insultion PS/PT60/110/EXC | 125
PTRKIT137 | Kit: Burner Plate 110 | 309
PTRKIT138 | Kit: 110 Conversion (Natural to LP) | 319
PTRKIT139 | Kit: Burner Plate 175/250 | 363
PTRKIT140 | Kit: Combustion Insulation PS/PT175/250 | 149
PTRKIT141 | Kit: Burner Plate 399 | 465
PTRKIT142 | Kit: Combustion Insulation PS/PT 299/399 | 169
PTRKIT205 | OBSO -Order(ser#PT)60/110 PTRKIT301, 175 PTRKIT302, EXC PTRKIT304 // (ser#PU) see kits 306,308,309,413 / 513 (175) | N/A
PTRKIT206 | OBSO -Order(ser#PT) 250 PTRKIT305; 399 PTRKIT303 // (ser#PU) see kits 307,308,309,513 / 613 (399) | N/A
PTRKIT207 | TriMax Display Module | 269
PTRKIT220 | Kit: In/Outlet Adapter (60-250) | 65
PTRKIT221 | Kit: In/Outlet Adapter (299/399) | 82
PTRKIT301 | Kit: Ignition System Update Kit (PT60/110) | 236
PTRKIT302 | Kit: Ignition System Update Kit (PT175) | 236
PTRKIT303 | Kit: Ignition System Update Kit (PT399) | 236
PTRKIT304 | Kit: Ignition System Update Kit (PT EXC) | 236
PTRKIT305 | Kit: Ignition System Update Kit (PT250) | 236
PTRKIT313 | OBSO -Order(ser#PT)60/110 PTRKIT301; 175 PTRKIT302; 250 PTRKIT305; 399 PTRKIT30; EXC PTRKIT304 // (ser#PU) see kits 308, 309 & (60/110/EXC)306,413 (175)306,513 (250)307,513 (399)307,613 | N/A
PTSWI01 | Switch: Power | 36
PTSWI02 | Switch: Power Cover | 32
PTWIR09 | Wire Harness (PT60 & PT110) | 266
PTWIR10 | Wire Harness (PT399) | 266
PTWIR11 | Wire Harness (PT175 & PT250) | 155
PTWIR12 | Wire Harness (Excellence) | 155
PTWSH01 | Washer: Condensate Trap | 14
PRESTIGE ACVMax PA 80/110/155/175/250/299/399 & Excellence 110 Parts List
PARKIT01 | Sensor Flue All PA | 56
PARKIT02 | Kit: Poly Flue Pipe (PA80/110) | 98
PARKIT03 | Kit: Poly Flue Pipe (EXC) | 141
PARKIT04 | Sensor LWCO Pressure All PA | 70
PARKIT05 | Kit: Condensation Drain ASSM 80/110/EXC | 84
PARKIT06 | Kit: Boiler Piping Return 80/110/EXC | 105
PARKIT07 | Kit: Boiler Piping Supply 80/110/EXC | 149
PARKIT08 | Kit: Poly Flue Pipe (PA155/175/250) | 168
PARKIT09 | Kit: Poly Flue Pipe (PA299/399) | 113
PARKIT10 | Kit: Venturi Valve (PA80) | 69
PARKIT11 | Kit: Blower PA80/110/EXC | 205
PARKIT12 | Kit: Combustion Insulation PA80/110/EXC | 89
PARKIT13 | Kit: Condensate Pan 60/80/110 | 163
PARKIT14 | Kit: Burner Head PA80/110/EXC | 148
PARKIT15 | Kit: Burner Plate PA80/110 | 191
PARKIT16 | OBSO Kit: Igniter (PA80/110/EXC/PA299 V1-V2/PA399 V1-V2)- Order Update Kit -Altitude (<5k': PA80/PARKIT141; PA110,EXC/PARKIT142; PA299 V1/PARKIT148, V2/PARKIT146; PA399 V1/PARKIT149, V2/PARKIT147) (>5k': PA80/PARKIT151; PA110,EXC/PARKIT152; PA299 V1/PARKIT158, V2/PARKIT156; PA399 V1/PARKIT159, V2/PARKIT157) | N/A
PARKIT17 | Kit: Gas Valve (PA80/110) | 192
PARKIT18 | Kit: Blower Clamp Assembly | 47
PARKIT19 | Kit: Blower Gasket | 49
PARKIT20 | Kit: Venturi Valve (PA110) | 68
PARKIT21 | Gasket Burner Head 80/110 | 45
PARKIT22 | IDWH Assembly Excellence | 1491
PARKIT23 | Kit: Stepper Valve (PA EXC) | 135
PARKIT24 | Kit: Circulator | 412
PARKIT30 | Kit: Venturi Valve (PA155) | 104
PARKIT31 | Kit: Gas Pipe EXC. | 126
PARKIT35 | Kit: Boiler Piping HX Return EXC | 120
PARKIT36 | Kit: Boiler Piping Return EXC. | 127
PARKIT37 | Kit: Boiler Piping HX Supply EXC | 171
PARKIT38 | Kit: Boiler Piping Supply EXC. | 126
PARKIT39 | Kit: Boiler Piping IDW Supply EXC | 134
PARKIT40 | Kit: Venturi Valve (PA175) | 80
PARKIT41 | Gasket Burner Head 155/175 | 46
PARKIT42 | Kit: Combustion Insulation PA155 | 95
PARKIT43 | Kit: Condensate Pan 155 | 105
PARKIT45 | Kit: Burner Plate PA155 | 219
PARKIT46 | Kit: Boiler Piping Return 155-250 | 104
PARKIT47 | Kit: Boiler Piping Supply 155-250 | 162
PARKIT49 | Kit: Gasket Burner Head 299/399 | 54
PARKIT50 | Kit: Venturi Valve (PA250) | 105
PARKIT51 | Kit: Blower PA155-175 | 316
PARKIT52 | Kit: Combustion Insulation PA175/250 | 107
PARKIT53 | Kit: Condensate Pan 175/250 | 179
PARKIT54 | Kit: Burner Head PA155-250 | 321
PARKIT55 | Kit: Burner Plate PA175/250 | 247
PARKIT56 | OBSO Kit: Igniter (PA155/175/250)- Order Update Kit -Altitude (<5k': PA155/PARKIT143; PA175/PARKIT144; PA250/PARKIT145) (>5k': PA155/PARKIT153; PA175/PARKIT154; PA250/PARKIT155) | N/A
PARKIT62 | Kit: Conversion (Natural to LP) PA80 | 56
PARKIT63 | Kit: Conversion (Natural to LP) PA110 | 55
PARKIT64 | Kit: Conversion (Natural to LP) PA155 | 50
PARKIT65 | Kit: Conversion (Natural to LP) PA175 | 49
PARKIT66 | Kit: Conversion (Natural to LP) PA250 | 49
PARKIT67 | Kit: Conversion (Natural to LP) PA299 / 399 | 55
PARKIT68 | Kit: Connector Set ACV Max CON | 77
PARKIT70 | Kit: Blower PA250 | 324
PARKIT71 | Kit: Blower PA299 / 399 | 632
PARKIT72 | Kit: Combustion Insulation PA299/399 | 134
PARKIT73 | Kit: Condensate Pan 299/399 | 228
PARKIT74 | KIT:BURNER HEAD PA299/399 | 457
PARKIT75 | Kit: Burner Plate PA299/399 | 310
PARKIT78 | Kit: Sensor Supply / Return (PA299/399) | 78
PARKIT79 | Kit: Gas Valve (PA299/399) | 315
PARKIT80 | OBSO Kit: Control Module (PA80) Order Update Kit- Altitude (<5k' PARKIT141) (>5k' PARKIT151) // Then go to kits: PARKIT111, 121, 130, 133 or 134 | N/A
PARKIT81 | OBSO Kit: Control Module (PA110/EXC) Order Update Kit- Altitude (<5k' PARKIT142) (>5k' PARKIT152) // Then go to kits: PARKIT112, 122, 130,133 or 134 | N/A
PARKIT82 | OBSO Kit: Control Module (PA155) Order Update Kit - Altitude (<5k' PARKIT143) (>5k' PARKIT153) // Then go to kits: PARKIT113, 123, 131, 133 or 134 | N/A
PARKIT83 | OBSO Kit: Control Module (PA175) Order Update Kit- Altitude (<5k' PARKIT144) (>5k' PARKIT154) // Then go to kits: PARKIT114, 124, 131, 133 or 134 | N/A
PARKIT84 | OBSO Kit: Control Module (PA250) Order Update Kit- Altitude (<5k' PARKIT145) (>5k' PARKIT155) // Then go to kits: PARKIT115, 125, 131, 133 or 134 | N/A
PARKIT87 | Kit: Display Board All | 174
PARKIT88 | Kit: Control Box Hinge Set | 48
PARKIT90 | Kit: Heat Exchanger PA80/110/EXC | 1282
PARKIT91 | Kit: Heat Exchanger PA155 | 1780
PARKIT92 | Kit: Heat Exchanger PS/PT/PA175 | 1883
PARKIT93 | Kit: Heat Exchanger PS/PT/PA250 | 2240
PARKIT94 | Kit: Heat Exchanger PA299 | 3088
PARKIT95 | Kit: Heat Exchanger PS/PT/PA399 | 3531
PARKIT97 | OBSO Control Module (PA299: V1 &V2) // Order Altitude (<5k': V1 PARKIT148 / V2 PARKIT146) (>5k': V1 PARKIT158 / V2 PARKIT156) // Then go to kits: PARKIT118(V1), 128(V1), 116(V2), 126(V2), 132, 133 or 134 | 215
PARKIT98 | OBSO Control Module (PA399: V1 &V2) // Order Altitude (<5k': V1 PARKIT149 / V2 PARKIT147) (>5k': V1 PARKIT159 / V2 PARKIT157) // Then go to kits: PARKIT119(V1), 129(V1), 117(V2), 127(V2), 132, 133 or 134 | 215
PARKIT102 | Universal Control Module | 257
PARKIT111 | PB Serial Number and Display Version Below 4.03 Control Module PA 80 (Low Altitude <5k') | 236
PARKIT112 | PB Serial Number and Display Version Below 4.03 Control Module PA 110/EXCELLENCE (Low Altitude <5k') | 236
PARKIT113 | PB Serial Number and Display Version Below 4.03 Control Module PA 155 (Low Altitude <5k') | 236
PARKIT114 | PB Serial Number and Display Version Below 4.03 Control Module PA 175 (Low Altitude <5k') | 236
PARKIT115 | PB Serial Number and Display Version Below 4.03 Control Module PA 250 (Low Altitude <5k') | 236
PARKIT116 | PB Serial Number and Display Version Below 4.03 Control Module PA 299 (V2) Updated Gas Train (Low Altitude <5k') | 236
PARKIT117 | PB Serial Number AND Display Version Below 4.03 Control Module PA 399 (V2) Updated Gas Train (Low Altitude <5k') | 236
PARKIT118 | PB Serial Number and Display Version Below 4.03 Control Module PA 299 (V1) Original Gas Train (Low Altitude <5k') | 236
PARKIT119 | PB Serial Number and Display Version Below 4.03 Control Module PA 399 (V1) Original Gas Train (Low Altitude <5k') | 236
PARKIT121 | PB Serial Number and Display Version Below 4.03 Control Module PA 80 (High Altitude >5k') | 236
PARKIT122 | PB Serial Number and Display Version Below 4.03 Control Module PA 110/EXCELLENCE (High Altitude >5k') | 236
PARKIT123 | PB Serial Number and Display Version Below 4.03 Control Module PA 155 (High Altitude >5k') | 236
PARKIT124 | PB Serial Number and Display Version Below 4.03 Control Module PA 175 (High Altitude >5k') | 236
PARKIT125 | PB Serial Number and Display Version Below 4.03 Control Module PA 250 (High Altitude >5k') | 236
PARKIT126 | PB Serial Number and Display Version Below 4.03 Control Module PA299 (V2) Updated Gas Train (High Altitude >5k') | 236
PARKIT127 | PB Serial Number and Display Version Below 4.03 Control Module PA 399 (V2) Updated Gas Train (High Altitude >5k') | 236
PARKIT128 | PB Serial Number and Display Version Below 4.03 Control Module PA 299 (V1) Original Gas Train High Altitude (>5k') | 236
PARKIT129 | PB Serial Number and Display Version Below 4.03 Control Module PA 399 (V1) Original Gas Train (High Altitude >5k') | 236
PARKIT130 | Igniter PA80/110/EXCELLENCE | 65
PARKIT131 | Igniter PA155/175/250 | 77
PARKIT132 | Igniter PA299/399 | 53
PARKIT133 | Spark Generator PA80/110/EXC/155/175/250/299 V1&V2 /399 V1&V2 | 60
PARKIT134 | Ignition Cable PA80/110/EXC/155/175/250/299 V1&V2 /399 V1&V2 | 55
PARKIT141 | PA Serial Number Only Ignition Update Kit PA 80 | 236
PARKIT142 | PA Serial Number Only Ignition Update Kit PA110/PEA110 | 236
PARKIT143 | PA Serial Number Only Ignition Update Kit PA 155 | 236
PARKIT144 | PA Serial Number Only Ignition Update Kit PA 175 | 236
PARKIT145 | PA Serial Number Only Ignition Update Kit PA 250 | 236
PARKIT146 | PA Serial Number Only Ignition Update Kit PA 299 Updated Gas Train | 236
PARKIT147 | PA Serial Number Only Ignition Update Kit PA 399 Updated Gas Train | 236
PARKIT148 | PA Serial Number Only Ignition Update Kit PA 299 Original Gas Train | 236
PARKIT149 | PA Serial Number Only Ignition Update Kit PA 399 Original Gas Train | 236
PARKIT151 | PA Serial Number Only Ignition Update Kit PA 80 High Altitude | 236
PARKIT152 | PA Serial Number Only Ignition Update Kit PA110/PEA110 High Altitude | 236
PARKIT153 | PA Serial Number ONLY Ignition Update Kit PA 155 High Altitude | 236
PARKIT154 | PA Serial Number Only Ignition Update Kit PA175 High Altitude | 236
PARKIT155 | PA Serial Number Only Ignition Update Kit PA 250 High Altitude | 236
PARKIT156 | PA Serial Number Only Ignition Update Kit PA 299 Updated Gas Train High Altitude | 236
PARKIT157 | PA Serial Number Only Ignition Update Kit PA 399 Updated Gas Train High Altitude | 236
PARKIT158 | PA Serial Number Only Ignition Update Kit PA 299 Original Gas Train High Altitude | 236
PARKIT159 | PA Serial Number Only Ignition Update Kit PA 399 Original Gas Train High Altitude | 236
PARKIT163 | KIT:GAS PIPING RETURN (80/110/E) | 117
PSRKIT21 | Kit: Wall Bracket 110-399 EXC | 53
PTADPT07 | Adaptor: Exhaust #537D6431 1 | 57
PTADPT08 | Adaptor: Intake / Exhaust 399 | 75
PTADPT09 | Adaptor: Flue Tube Plate for R | 38
PTRKIT109 | Kit: Pressure Gauge (60-250) | 66
PTRKIT111 | Kit: Gas Valve (PA155-250) | 171
PTRKIT122 | Kit: Sensor Supply / Return (60-250) | 64
PTRKIT123 | Kit: Supply / Return Temp Sensor (60-399/PA80 & PA110) | 77
PTRKIT136 | Kit: Combustion Insulation PS/PT 60/110/EXC | 125
PTRKIT137 | Kit: Burner Plate PS/PT 110 | 309
PTRKIT139 | Kit: Burner Plate PS/PT 175/250 | 363
PTRKIT140 | Kit: Combustion Insulation PS/PT 175/250 | 149
PTRKIT141 | Kit: Burner Plate 399 | 465
PTRKIT142 | Kit: Combustion Insulation PS/PT 299/399 | 169
CHALLENGER Replacement Part List
CCCLB01 | Ignition Cable | 29
CCCS01 | Housing Plastic Control | 18
CCFTG01 | Connector Pipe CH | 19
CCFTG02 | Connector Pipe DHW | 19
CCGAU01 | Temperature and Pressure Gauge | 53
CCRKIT04 | Wall Bracket Assembly | 51
CCRKIT05 | Piping Connectors & Brackets | 140
CCRKIT06 | Front Door Assembly CC85 | 403
CCRKIT07 | Front Door Assembly CC105 | 410
CCRKIT08 | Front Door Assembly CC125 | 414
CCRKIT10 | Vent Assembly CC85 | 98
CCRKIT11 | Vent Assembly CC105 | 99
CCRKIT12 | Vent Assembly CC125 | 100
CCRKIT13 | Condensate Collector Assembly | 134
CCRKIT14 | Condensate Drain Trap Assembly (85, 105, 125) | 67
CCRKIT14A | Kit: Condensate Trap CC150 | 65
CCRKIT15 | Ignitor Assembly | 69
CCRKIT16 | Sight Glass Assembly | 62
CCRKIT17 | CH Sensor Assembly | 79
CCRKIT18 | DHW Flow Switch Assembly | 120
CCRKIT19 | LWCO/CH Pressure Sensor Assembly | 100
CCRKIT20 | CH Supply Pipe Assembly CC85 | 138
CCRKIT21 | CH Supply Pipe Assembly CC8105 | 143
CCRKIT22 | CH Supply Pipe Assembly CC125, CC150 | 148
CCRKIT23 | CH Return Pipe Assembly | 84
CCRKIT26 | DHW Supply Pipe Assembly | 63
CCRKIT27 | DHW Return Pipe Assembly | 63
CCRKIT28 | Ignition Transformer Assembly | 96
CCRKIT29 | Gas Valve Assembly REPLACED WITH CCRKIT60 | 344
CCRKIT30 | Gas Pipe Assembly CC85 | 123
CCRKIT31 | Gas Pipe Assembly CC105, CC125, CC150 | 123
CCRKIT32 | Blower Assembly | 491
CCRKIT33 | Burner Assembly | 395
CCRKIT34 | Control Flip-down Panel | 15
CCRKIT35 | Vent/Air Adaptor Assembly | 102
CCRKIT36 | Flue Sensor | 59
CCRKIT38 | Kit: Indirect Circulator Wiring | 50
CCRKIT40 | Kit: Busching for Igniter | 44
CCRKIT41 | Kit: Gasket Condensate Trap | 44
CCRKIT42 | Kit: Wiring Harness LWCO | 46
CCRKIT43 | Kit: Connector 9 Pin 24V | 47
CCRKIT44 | Kit: Connector 8 Pin , 120V | 47
CCRKIT45 | Kit: Venturi 406 | 102
CCRKIT46 | Kit: Venturi 362 | 65
CCRKIT47 | Kit: Orifice Blower Out CC85 | 41
CCRKIT48 | Kit: Orifice Blower Out CC105 | 41
CCRKIT49 | Kit: Restricor DHW 2 GPM | 44
CCRKIT50 | Kit: Restricor DHW 2.5 GPM | 44
CCRKIT51 | Kit: Restricor DHW 3 GPM | 44
CCRKIT52 | Kit: Control Display CC50S | 427
CCRKIT53 | Kit: Control Display CC85/105/125 And Solo | 427
CCRKIT54 | Kit: Control Display CC125H/HS | 427
CCRKIT55 | Kit: Control Display CC150S | 427
CCRKIT56 | Kit: DHW Flow Sensor Assembly | 125
CCRKIT57 | Kit: DHW Cold Pipe Assembly | 65
CCRKIT59 | Kit: Igniter Transformer Assembly | 82
CCRKIT60 | Kit: Gas Valve (Updated) | 341
CCRKIT61 | Kit: Upper Gas Pipe New 50/85/105 | 77
CCRKIT62 | Kit: Upper Gas Pipe New 125/150 | 77
CCRKIT63 | Kit: Venturi 471 (CC125H) | 55
CCRKIT64 | Kit: Natural to LP Conversion | 59
CCRKIT66 | Kit: Natural to LP Conversion | 54
CCRKIT97 | Kit: Challenger Repair Parts | 1818
CCSENS02 | DHW Sensor | 23
CCVSUP01 | Support Fire/wall | 44
PSSENS01 | Outdoor Sensor Kit | 63
PSVLV13 | Mixing Valve | 84
CHALLENGER Components Part List
CCGSK01 | Gasket: Igniter | 7
CCGSK03 | Gasket: Blower Outlet 877807 | 8
CCGSK04 | Gasket: Venturi Inlet 875737 | 7
CCGSK05 | Gasket: Gas Valve Orifice 875827 | 7
CCGSK06 | Gasket: Gas Valve Inlet 875757 | 7
CCGSK07 | Gasket: Flow Switch 875617 | 8
CCGSK08 | Gasket: Flip Panel 878047 | 7
CCGSK09 | Gasket: 3" Adapter 878527 4 mm x | 9
CCGSK10 | Gasket: Outlet Vent Assembly 878547 | 10
CCGSK11 | Gasket: Inlet Vent Assembley 878537 | 8
CCGSK12 | Gasket: HX Condensate 878147 | 8
CCGSK13 | Gasket: Burner 877847 | 9
CCGSK14 | Gasket: Burner Screws 875897 | 8
CCGSK15 | Gasket: Pipe Assembly 875517 | 7
CCGSK16 | Gasket:Pipe/HX 875567 | 8
CCGSK18 | Gasket: Condensate Trap 878577 | 10
CCGSK19 | Gasket: Door 877917 | 9
CCGSK20 | Gasket: Electrical 878567 | 8
CCGSK21 | Gasket: HX Front CC85 876467 | 15
CCGSK22 | Gasket: HX Front CC105 877927 | 15
CCGSK23 | Gasket: HX Front CC125 875697 | 15
KEYSTONE Condensing Boiler and Water Heater Replacement Parts
KSR147 | Fuse Kit (Special Order) | 31
KSR186 | Adapter (Special Order) 6" SS To PVC | 210
KSR187 | Switch (Special Order) E2328300 | 35
KSR188 | Harness For Control (Special Order) KW500 | 160
KSR222 | Condensate Trap Assembly KW199 (Special Order) | 171
KSR223 | Condensate Trap Assembly | 168
KSR224 | Condensate Trap Assembly 600-850 (Special Order) | 54
KSR300 | Combustion Air Blower KW199/285 | 1014
KSR301 | Combustion Air Blower KS/KW 399-500 | 1412
KSR302 | Combustion Air Blower (Special Order) KS600-850 | 2192
KSR303 | Gas Valve / Venturi 199 (Special Order) | 285
KSR304 | Gas Valve / Venturi | 539
KSR305 | Gas Valve 399 (Special Order) | 664
KSR306 | Gas Valve KS/KW 500 (Special Order) | 715
KSR307 | Gas Valve KS/KW 600-850 (Special Order) | 1837
KSR308 | Gas / Air Venturi | 187
KSR309 | Gas / Air Venturi | 861
KSR310 | Manual Shut Off | 50
KSR311 | Manual Shut Off | 63
KSR312 | Manual Shut Off | 117
KSR313 | Gas Valve Falnge Kit | 105
KSR314 | Gas Valve / Venturi Cork Gasket (Special Order) (KS/KW500-850) | 25
KSR315 | Gas Valve O-Ring KW199-285 R30-227 | 23
KSR316 | Venturi O-Ring KW/KS 399-850 RS2105200 | 28
KSR317 | High Gas Pressure Switch (Special Order) 399 | 210
KSR318 | High Gas Pressure Switch (Special Order) 199 | 210
KSR319 | High Gas Pressure Switch (Special Order) 750/850 | 210
KSR320 | Low Gas Pressure Switch (Special Order) 399 | 210
KSR321 | Low Gas Pressure Switch | 210
KSR322 | Low Gas Pressure Switch (Special Order) 750/850 | 190
KSR323 | Duct / Venturi Transition | 44
KSR324 | Duct / Venturi Transition | 47
KSR325 | Duct / Venturi Transition | 41
KSR326 | Duct / Venturi Transition | 224
KSR327 | Duct / Venturi Transition | 139
KSR328 | Gas Supply Pipe | 89
KSR329 | Gas Supply Pipe | 116
KSR330 | Gas Supply Pipe | 32
KSR331 | Gas Supply Pipe | 44
KSR332 | Gas Supply Pipe | 22
KSR333 | Gas Pipe, 3/4" NPT Formed Nipple | 155
KSR334 | Air Inlet Flex Hose | 33
KSR335 | Air Inlet Flex Hose | 65
KSR336 | Air Inlet Flex 3" Hose (Special Order) Plastic 24"L (500) | 33
KSR337 | Air Inlet Flex Hose | 66
KSR338 | Air Inlet Flex Hose | 33
KSR339 | Air Inlet Collector | 43
KSR340 | Air Inlet Collector | 98
KSR341 | MOLEX CONN w Cable (Special Order) | 71
KSR342 | Elbow Adaptor | 72
KSR343 | Blower Gasket w/fasteners KS600-850 RS2107500 | 16
KSR400 | Heat Exchanger | 6555
KSR401 | Heat Exchanger KW285 (Special Order) | 4856
KSR402 | Heat Exchanger 399 (Special Order) | 6515
KSR403 | Heat Exchanger KW500 (Special Order) | 7996
KSR404 | Heat Exchanger 600 (Special Order) | 8114
KSR405 | Heat Exchanger 750 (Special Order) | 9594
KSR406 | Heat Exchanger 850 (Special Order) | 10779
KSR407 | Low Water Cutoff Switch KW/KS5 | 503
KSR408 | Water temp sensor RE2320600 | 64
KSR409 | Duplex water temp sensor RE2319900 | 67
KSR410 | Duplex Stack temp sensor KW199 RE2319700 | 70
KSR411 | Duplex Water Temp Sensor 285-750 RE2319800 | 85
KSR412 | Pressure Relief KS 75 PSI (Special Order) | 47
KSR413 | Pressure Relief KS 125 PSI (Special Order) | 107
KSR414 | Air Vent | 18
KSR415 | Burner Door w/ Gaskets (Special Order) (Up To KS/KW600) Used For Old KSR442 | 178
KSR416 | Gaskets-Only (Burner Door) R2069400 | 29
KSR417 | Burner Gasket | 18
KSR418 | Gasket Set (Buner, Ignitor, Sensor & Door Gaskets) RS2109100 | 55
KSR419 | Front Refractory Tile 199-600 | 89
KSR420 | Rear Refractory Tile | 70
KSR421 | Main Burner w/ Gasket | 937
KSR422 | Main Burner w/ Gasket | 1006
KSR423 | Main Burner w/ Gasket 399-500 (Special Order) | 1006
KSR424 | Main Burner w/ Gasket 600 (Special Order) | 1075
KSR425 | Burner W/Gasket 750 (Special Order) | 1206
KSR426 | Burner w/Gasket 850 (Special Order) | 1340
KSR427 | Flame Sensor w/ Gakset 199-600 (Special Order) R2069200 | 68
KSR428 | Flame Sensor w/ Gakset KS750/850 (Special Order) R2071500 | 99
KSR429 | Ignitor w/ Gasket 199-600 R2069300 | 76
KSR430 | Ignitor w/ Gasket KS750/850 R2071400 | 93
KSR431 | Ignitor Gasket | 17
KSR432 | Ignition Cable 190-600 50D7516 | 28
KSR433 | Ignition Cable KS750/850 85D7516 | 28
KSR434 | Screw, Ignitor / Flame Sensor S2112700 | 12
KSR435 | Flame / Sensor Gakset | 16
KSR436 | Air / Gas Channel 199-399 | 230
KSR437 | Air / Gas Channel | 457
KSR438 | Air Adaptor | 412
KSR439 | Screw, Air / Gas Channel | 31
KSR440 | Screw, Air Adaptor | 6
KSR441 | Drain | 40
KSR442 | OBSO - Must Order KSR415 | N/A
KSR444 | Gasket Set (Special Order) KS/KW 750/850 R2077600 | 77
KSR445 | Tile (Special Order) Refactory Insulation, Burner Door KS/KW 750/850 | 29
KSR500 | Control Panel Enclosure | 129
KSR501 | Transformer | 97
KSR502 | High Voltage Shield (Special Order) | 44
KSR503 | Top Panel Bracket | 46
KSR505 | Rocker Switch (Special Order) | 97
KSR506 | Control Display (Special Order) ( for non E Models) | 131
KSR507 | Control Display CSD-1 ( for non E Models) | 242
KSR508 | Wire Harness | 343
KSR509 | Wire Harness | 343
KSR510 | Harness KS/KW500 (Special Order) | 357
KSR511 | Wire Harness | 343
KSR512 | Wire Harness KS750/850 (Special Order) | 343
KSR513 | Harness KS500, CSD1 (Special Order) | 357
KSR514 | Wire Harness KS600 CSD-1 (Special Order) | 343
KSR515 | Harness KS750/850 (Special Order) | 343
KSR517 | Air Pressure Switch (Special Order) KW/KS285,500,600,850 | 31
KSR518 | Air Pressure Switch (Special Order) KW/KS750 | 75
KSR519 | Water Flow Switch (Special Order) KW/KS399-->850 | 299
KSR520 | T & P Gauge | 75
KSR521 | Gas Conversion Kit | 27
KSR522 | Gas Conversion Kit | 64
KSR523 | Gas Conversion Kit | 27
KSR524 | Gas Conversion Kit | 101
KSR525 | Gas Conversion Kit | 27
KSR526 | Outdoor Sensor (Special Order) | 71
KSR527 | System Sensor (Special Order) | 66
KSR528 | DHW Sensor | 141
KSR530 | Electronic Control Module, Standard KW199E | 567
KSR531 | Electronic Control Module, Standard KW285E (Special Order) | 567
KSR532 | Electronic Control Module, Standard (Special Order) | 567
KSR533 | Electronic Control Module, Standard (Special Order) | 567
KSR534 | Electronic Control Module, Standard KW600/750 New E Series | 567
KSR535 | Electronic Control Module, Standard KW850T (Special Order) | 567
KSR536 | Electronic Control Module, CSD-1 KS500E | 567
KSR537 | Electronic Control Module, CSD-1 KS600/750E | 567
KSR538 | Electronic Control Module, CSD-1 KS850E | 567
KSR540 | Flame sensor wire 199-600 (Special Order) | 21
KSR541 | Flame sensor wire 750-850 (Special Order) | 21
KSR609 | Switch High / Low Gas (Special Order) KW399-500,KS399 | 504
KSR610 | Thermo Fuse (Special Order) | 55
KSR611 | High / Low GPS Factory Mounted | 504
KSR612 | High / Low GPS Factory Mounted | 504
KSR613 | High / Low GPS Factory Mounted | 504
KSR703 | Control Upgrade 4A (Special Order) KW399 | 825
KSR704 | Control Upgrade 4A (Special Order) KW600/750 | 825
KSR705 | Control Upgrade 4A (Special Order) KW850 | 825
KSR706 | Control Conversion 4A (Special Order) KS500 | 863
KSR707 | Control Conversion 4A (Special Order) KS600/750 | 889
KSR708 | Control Conversion 4A (Special Order) KS850 | 863
KSR709 | Control Upgrade (Special Order) 4A KW199 | 771
KSR715 | Control & Display Kit (Special Order) For All KW500/KW500E replaces old style display, must order this kit instead. Has control and display. | 825
KSR722 | New Style Bezel "E" (Special Order) | 67
KSR723 | Display E Units .....(Special Order) | 207
KSR724 | CPVC Tail Piece 24" (Special Order) | 327
KSR725 | Display Touchscreen All Models | 1290
Marquis Tankless Water Heater Component Parts List
MQRKIT01 | Spare Parts Kit | 54
MQRKIT02 | Anchor / Wall Bracket Mount | 54
MQRKIT03 | Gas Conversion Kit | 70
MQRKIT04 | LP Conversion Kit | 69
MQRKIT05 | Exhaust Connector Assembly | 64
MQRKIT06 | Cabinet | 48
MQRKIT07 | Door Assembly | 85
MQRKIT08 | Display Panel Cover | 49
MQRKIT09 | Ignition Transformer | 67
MQRKIT10 | Gas Inlet Nipple | 48
MQRKIT11 | Overheat Sensor | 48
MQRKIT12 | DHW Supply Pipe Assembly | 63
MQRKIT13 | Condensate Trap Assembly | 51
MQRKIT14 | Condensate Air Pressure Hose | 48
MQRKIT15 | Air Pressure Switch | 56
MQRKIT16 | Display Bracket | 51
MQRKIT17 | Display Panel | 103
MQRKIT18 | Control Board (PCB) | 174
MQRKIT19 | Control Board Bracket | 53
MQRKIT20 | Power Switch | 48
MQRKIT21 | Flow Control Valve | 124
MQRKIT22 | Water Inlet Valve Assembly | 81
MQRKIT23 | Water Inlet Filter | 56
MQRKIT24 | Case Bracket (Left / Right) | 47
MQRKIT25 | Air Intake Connector Assmebly | 63
MQRKIT26 | Heat Exchanger Assembly | 944
MQRKIT27 | Sensor Exhaust Temperature | 51
MQRKIT28 | Exhaust Gasket | 50
MQRKIT29 | Exhaust / HX Packing | 55
MQRKIT30 | Blower Assembly | 187
MQRKIT31 | Blower | 108
MQRKIT32 | Blower "O" Ring | 48
MQRKIT33 | Silencer Elbow | 49
MQRKIT34 | Silencer Body | 50
MQRKIT35 | Burner Head | 63
MQRKIT36 | Gasket Ignition Rod | 48
MQRKIT37 | Ignition Rod | 56
MQRKIT38 | Blower Head Bracket | 48
MQRKIT39 | Overheat Sensor (Burner) | 48
MQRKIT40 | Metal Fiber Assmebly | 103
MQRKIT41 | Flame Detector | 48
MQRKIT42 | Mixing Valve | 124
MQRKIT43 | Sensor Heat Exchanger Temperature | 51
MQRKIT44 | Sensor Overheat Exchanger | 48
MQRKIT45 | DHW Outlet Pipe | 71
MQRKIT46 | Water Piping Clip | 48
MQRKIT47 | DHW Inlet Pipe | 75
MQRKIT48 | Ceramic Heater | 65
MQRKIT49 | Pipe: Gas Valve (Upper) | 51
MQRKIT50 | Pipe: Gas Valve (Lower) | 61
MQRKIT51 | Gas Valve Adapter (Straight) | 47
MQRKIT52 | Gas Valve Assembly | 156
MQRKIT53 | Gas Valve Plug | 48
MQRKIT54 | Gas Valve Adapter (90 Degree) | 48
MQRKIT55 | Bracket: Bottom HX (Left) | 51
MQRKIT56 | Bracket: Bottom HX (Right) | 51
MQRKIT57 | Bracket: Top HX (Right/Left) | 47
MQRKIT58 | Screen 3" | 56
MQRKIT59 | Condensate Hose | 54
MQRKIT60 | Screen 2" | 56
MQRKIT61 | Bracket: Case (Lower) | 48
MQRKIT62 | Sensor: Water Outlet | 58
MQRKIT63 | Exchanger / Burner Gasket | 70
MQRKIT64 | Flame Detection Sensor Body | 48
MQRKIT65 | Internal Condensate Hose | 51
MQRKIT66 | Gasket Ignition Rod | 48
MQRKIT67 | Power Cord | 102
MQRKIT68 | Connector Assmebly | 86
MQRKIT69 | Harness: Cascade | 33
MQRKIT70 | Service Parts Kit | 1644
Common Vent
PSVELB03 | 90° Elbow | 88
PSVELB04 | 45° Elbow | 85
PSVEXT01 | Vertical Termination | 80
PSVFLA01 | Flashing Ø° Pitch-Flat Roof #810006947 | 38
PSVFLA02 | Flashing Ø° - 25° Pitch #810006948 | 339
PSVFLA03 | Flashing 25° - 45° Pitch | 130
PSVGSK02 | Seal 150mm #810006951 | 14
PSVKIT04 | Two Boilers near Boiler Common Vent Kit | 2233
PSVKIT05 | Three Boiler near Boiler Common Vent Kit | 3175
PSVPIP03 | 39" Straight Length #810006955 | 119
PSVPIP04 | 79" Straight Length #810006956 | 169
PSVSUP02 | Fire Stop/Wall Support | 75
PSVSUP03 | Support Brackets #810009506 | 49
PSVTERM01 | 26" Vertical Termination #4810006958 | 634
PSVTERM02 | Horizontal Terminaiton Common Vent #4810006959 | 715
Heat Master Component Parts List
TCRKIT01 | Kit: Flue Pipe (240-399) | 122
TCRKIT02 | Kit: Upper Recirc Pipe (240-399) | 109
TCRKIT03 | Kit: Lower Recirc Pipe (240-399) | 117
TCRKIT04 | Kit: Circulater (240-399) | 653
TCRKIT07 | Kit: Combustion Insulation 240 | 132
TCRKIT08 | Kit: Burner Head 240 | 381
TCRKIT09 | Kit: Burner Plate 240 | 153
TCRKIT10 | Kit: Igniter TC240 | 105
TCRKIT11 | Kit: Gas Valve Pipe 240 | 156
TCRKIT12 | Kit: Gas Pressure Switch 240/399 | 82
TCRKIT14 | Kit: Combustion Insulation 399 | 62
TCRKIT15 | Kit: Burner Head 399 | 387
TCRKIT16 | Kit: Blower 399 | 658
TCRKIT17 | Kit: Burner Plate 399 | 162
TCRKIT18 | Kit: Gas Valve TC399 | 301
TCRKIT19 | Kit: Venturi Valve TC399 | 175
TCRKIT20 | Kit: Igniter TC 299/399 | 105
TCRKIT21 | Kit: Gas Valve Pipe 399 | 138
TCRKIT22 | Kit: Power Switch | 61
TCRKIT25 | Kit: 240 Conversion (Natural to LP) | 54
TCRKIT26 | Kit: 399 Conversion (Natural to LP) | 67
TCRKIT27 | Kit: Gasket Igniter TC240 | 29
TCRKIT28 | Kit: Gasket Igniter TC399 | 29
TCRKIT29 | Kit: Gasket Burner Head TC240 | 54
TCRKIT30 | Kit: Gasket Burner Head TC399 | 61
TCRKIT31 | Kit: Gasket Blower TC240-399 | 56
Instinct Spare Parts List
INSRKIT01 | Kit: Heat Exchanger 110 | 1402
INSRKIT02 | Kit: Heat Exchanger 155 | 1800
INSRKIT03 | Kit: Heat Exchanger 199 | 2218
INSRKIT04 | Kit: Blower (110-155) | 381
INSRKIT05 | Kit: Blower 199 | 459
INSRKIT06 | Kit: Gas Valve | 307
INSRKIT07 | Kit: Venturi 110 NG | 133
INSRKIT08 | Kit: Venturi 110 LP | 134
INSRKIT09 | Kit: Venturi 155 NG | 133
INSRKIT10 | Kit: Venturi 155 LP | 133
INSRKIT11 | Kit: Venturi 199 NG | 133
INSRKIT12 | Kit: Venturi 199 LP | 123
INSRKIT13 | Kit: Venturi Air Inlet Coupling | 56
INSRKIT14 | Kit: Burner Plate 110 | 255
INSRKIT15 | Kit: Burner Plate 155 | 286
INSRKIT16 | Kit: Burner Plate 199 | 286
INSRKIT18 | Kit: Combustion Insulation 110 | 125
INSRKIT19 | Kit: Combustion Insulation 155 | 145
INSRKIT20 | Kit: Combustion Insulation 199 | 149
INSRKIT21 | Kit: Circulator | 257
INSRKIT24 | Kit: Burner Head 110 | 206
INSRKIT25 | Kit: Burner Head 155-199 | 269
INSRKIT26 | Kit: Igniter Cable | 55
INSRKIT27 | Kit: Igniter | 83
INSRKIT30 | Kit: HX Insulation ( Top 110) | 60
INSRKIT31 | Kit: HX Insulation ( Top 155) | 53
INSRKIT32 | Kit: HX Insulation ( Top 199) | 65
INSRKIT40 | Kit: Vent Outlet/Air Inlet ADA | 101
INSRKIT41 | Kit: Flue Tube | 83
INSRKIT52 | Kit: Control Module (All) | 303
INSRKIT53 | Kit: Display Module (All) | 353
INSRKIT55 | Kit: Enclosure (Control) | 81
INSRKIT58 | Kit: Flow Sensor | 77
INSRKIT60 | Kit: Hydroblock Plate HX | 210
INSRKIT61 | Kit: Valve Motor | 184
INSRKIT62 | Kit: 3 Way Valve | 71
INSRKIT64 | Kit: CH Supply Fitting Combi | 162
INSRKIT65 | Kit: DHW Supply Fitting Combi | 84
INSRKIT66 | Kit: DHW Inlet Fitting Combi | 106
INSRKIT67 | Kit: CH Return Fitting Combi | 108
INSRKIT74 | Kit: Air Inlet Elbow | 80
INSRKIT75 | Kit: Air Inlet Red. Adapter | 60
INSRKIT76 | Kit: Gas Pipe Venturi 110 | 102
INSRKIT77 | Kit: Gas Pipe Venturi 155 | 116
INSRKIT78 | Kit: Gas Pipe Venturi 199 | 137
INSRKIT90 | Kit: Wall Mounting Bracket | 72
INSRKIT91 | Kit: Mounting Bracket (Display) | 82
INSRKIT92 | Kit: Mounting Bracket (Control) | 81
INSRKIT100 | Kit: Condensate Pan 199 | 158
INSRKIT104 | Kit: Burner Head Gasket 110 | 46
INSRKIT105 | Kit: Burner Head Gasket 155/199 | 46
INSRKIT106 | Kit: Igniter Gasket | 46
INSRKIT107 | Kit: Blower Gasket | 54
INSRKIT108 | Kit: Venturi Gasket | 46
INSRKIT109 | Kit: Water Pipe Gasket | 45
INSRKIT110 | Kit: Flue Gasket | 55
INSRKIT111 | Kit: Venturi "O" Ring 110/155 | 44
INSRKIT112 | Kit: Venturi "O" Ring 199 | 44
INSRKIT114 | Kit: Gaskets Gas Pipe | 49
INSRKIT115 | Kit: Pressure Gauge | 74
INSRKIT116 | Kit: Foam Damper NG | 44
INSRKIT117 | Kit: Foam Damper LP | 51
INSRKIT33 | Kit: Supply ipe 110 | 158
INSRKIT34 | Kit: Supply Pipe 155-199 Solo | 151
INSRKIT35 | Kit: Supply Pipe 155 Combi | 145
INSRKIT36 | Kit: Supply Pipe 199 Combi | 147
INSRKIT68 | Kit: Gaskets Hydroblock | 53
INSRKIT69 | Kit: CH & DHW Supply Fitting | 172
INSRKIT71 | Kit: DHW Inlet Fitting Combi | 111
INSRKIT72 | Kit: CH Return Fitting | 127
INSRKIT98 | Kit: Condensate Pan 110 | 134
INSRKIT99 | Kit: Condenste Pan 155 | 152
Note on C231: Tlederer:

## Drops
PSVKIT03 | Wall Terminal 399 | 407
CCRKIT200 | Timesaver Pri Sec Manifold, w/o Pump, 1.25" NPT Sys Connections | 428
HMVLV04 | Shut-Off Vavlve | 17.5
HM399TC | Heatmaster TC 399 MBH | 12990